## Slide 1: Water System Plan 2021 Revisions
Bernie Ziemianek and Greg Burg, Public Works
Rodney Langer David Evans and Associates, Inc.

## Slide 2: Comprehensive Water System Plan Update
Required Every 6-10 years
Part of the City Comprehensive Plan
Demand Forecast - System Analysis – Capital Plan
Last WSP adopted 2010
SEPA/Public Hearing August 2019
Submitted for Review Fall 2019
Revised Version – April 2021
Council Adoption - May 2021
Submit for Approval – May 2021

## Slide 3: Agency Comments and Response
Responding Agencies
  Whatcom County Planning
  State Department of Health
  State Department of Ecology
Nature of Comments
  Alignment with other plans
  Clarification of calculation methodology and planning data
  Water rights revisions
Mix of Responses and Revisions

## Slide 4: Alignment With Other Plans
Local Government Consistency
  City provided previously
  County provided
Declaration of Water Service Area
  By final adoption action
2018 Whatcom County Comprehensive Plan
  Updated references
Coliform monitoring plan
  revised for updated requirements

## Slide 5: Calculation Methodology and Data
Clarification of the water use forecast calculations
Added data to appendix
Hydraulic model calibration summary

## Slide 6: Wells and Water Rights
Updated well pump capacities
  2019 and 2020 rehabilitation work
Revised supply analysis
  Rights Adequate for 20 years
  Recommend additional supply for redundancy and future growth
Revised water rights summary
  Added documents to appendix
  Clarified wells/rights relationships

## Slide 7: CIP Revisions and Summary
Revisions
  Increased Main Replacement $$
Primary Capital Projects
  Additional Supply
  Additional Storage
    Reduce dead storage
  Water Main Replacement
  Replace Disinfection System
  Reservoir Coating/Seismic Updates
  East Blaine – New Pressure Zone

## Slide 8: Next Steps
Recommend Council Adoption
  April 2021 Water System Plan
  Retail Water Service Area
  Water Use Efficiency Program
Agency Approval Submittals
  Whatcom County
  Department of Health
    Department of Ecology
Rate and GFF Study – Recently Initiated

## Slide 9: Staff Conclusions
Revisions a team effort
Significant step for water system
New CIP and basis for Rates and Charges Study
Next Council Meeting – Adoption Ordinance